## Energy Consumption Profile
ENERGY CONSUMPTION CALCULATOR & PROFILE
Personal/Company Details (fill in where applicable)
Client name: |  |  |  | Contact Number(s)
Company name: |  |  |  | E-mail address
Vat Reg nr: |  |  |  | Website:
Location/Area: |  |  |  | Website:
General guidelines for filling in this calculator:
1. Add all appliances and lights to the list: Go through your whole house, office or business and fill in all the appliances, lights, etc that will be ran off the solar or renewable energy system. 2. Lights & Appliances: Renewable energy sources are only made to run low energy/wattage appliances for instance lights which are not more than 15 Watts per hour. Preferably do not run lights for more than 6 hours. Use Energy saving/LED lights. 3. Appliances like Fridges & Freezers: All renewables are only made for appliances that are designed to run off low energy (wattage), for instance the fridge freezers The Company sells. This principle applies to any and all appliances. Tip: You can give your appliances a second life by selling them online on sites like: olx.co.za, bidorbuy.co.za, junkmail.co.za, etc 4. Chest/Box Freezers: Normally chest/box freezers running on 12/24/36/48/60/etc Volt DC are not made for alternative power generation. If running these types of appliances on higher DC Voltages, it will normally influence the long term sustainability of the solar panels. 5. Self contained security lighting: The Company does not sell this type of lighting. These need separate panels and batteries to work off DC power. 6. Maximum watt hours: If the watts calculated below exceed 34000 watt hours, please adjust within the ranges of 10000/19000/26000/37000 watts hours to allow for the use of multiple systems. This is The Solar Groups on The Science of Alternative Power. Exact wattage per hour cannot be guaranteed. 7. Heavy Duty appliances: Washing machines, tumble driers, dish washers, etc can only be used when the sun shines to maximise the life and power capacity of the batteries. A usage schedule will need to be drawn up and kept to for optimal effect. 8. Stoves: When it comes to 220 Volt stoves the best advice is to rather go for gas or low wattage induction hobs. 9. Borehole pumps: 220 Volt borehole pumps must be replaced with special borehole pumps sold at The Company. Converting existing borehole pumps cost on avarage 4 times more than a comparable solar water pumping system. 10. Geysers: 220 Volt geysers should be replaced with special solar geyser(S) or solar heat collector panel(S) sold at The Company. 11. Heat pumps: It is suggested that you rather go with solar geyser(S) or solar heat collector panel(S) sold at The Company. Heat pumps use less energy than conventional geysers, but still use a considerable amount of energy. The return on investment on a solar geyser is also much more and the payoff period shorter. 12. Solar & Renewable Energy Book: All of the information above, and much more, has been taken from the Book “Solar All about”. We highly recommend that you buy this book because it will give you a good understanding of what solar & renewable energy is about. 13. Unknown wattages: If you are unsure about the wattage of any appliances, please write down the current (in amp) and the voltage (usually 220/230 Volt) for us to calculate the wattage (Watt = Amp x Volt). Normally in some cases indications are written in amp on/in the appliances. 14. Usage schedule: Bear in mind that you will have to draw up a usage schedule for the appliances and lights mentioned above and will have to ensure that your family, employees and staff keep to this schedule in order for your power system to operate optimally. The Company will provide a template to work from. 15. T’s & C’s and copyright: Read the Solar Group terms & conditions as well as copy right restrictions before purchasing or entering into agreement with Us.
Energy Consumption Profile & Calculator (Pre-Planning)
Fill in your appliance types and details in the blue block. The green cells have formulas in and will auto calculate plug-in, watts, total watth and percentages.
Type of appliance/lights & voltage (Pls read guidelines above) | Quantity | Watt or W/h written on the appliance (if written in per day/per year or amp please indicate) | Plug In | Hours of planned use per day |  |  |  | Watt hours (summer) | Watt hours (winter) | Max Watt hours (per day) | % of total energy use
|  |  |  | Day |  | Night
|  |  |  | Summer | Winter | Summer | Winter
Eg: Lights 220 volt (Energy savers) | 5 | 15 | 75 | 0 | 1 | 4 | 5 | 300 | 450 | 450 | 55.56%
Eg: Television (LED) | 1 | 60 | 60 | 1 | 1 | 5 | 3 | 360 | 240 | 360 | 44.44%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
[8 empty] | 0 | 0 | 0 | 0%
TOTAL DAILY REQUIREMENTS | 6 | 75 | 135 |  |  |  |  | 660 | 690 | 810 | 100%
Which of the appliances/lights listed above will be plugged in and drawing power at the same time? The company uses this information to determine the size of the inverter that will be supplied with the system. Please supply info regarding the installer.
Please note The Company offers 2 types of inverters: normal inverters without battery chargers and ones with battery charging capabilities. Please indicate if AC source (Grid/ Escom/ Generator/ AC or DC Altenator/Turbine) charging will be part of the system to charge batteries, then from there we can establish which inverter/which size battery charger etc can be advised in the quotation.